## Slide 1: A Wearable, Multimodal Sensing System to Monitor Knee Joint Health[1]
Group: F3
Yuhan Wu, Yanze Liu, Yongjiang Chen
Dec 12th , 2023

## Slide 2
The current wearable medical technology represents a popular research area.
In orthopedics, “Joint Health Assessment” is particularly important.
Only in laboratories/clinical medicine are there specific instruments used to measure “Knee Joint Health Data”.
Exploring the design of wearable multi-sensor modes for assessing knee joint health.
Introduction -- Background and Objective
2
Notes: 目前可穿戴医疗技术代表着一个热门的研究领域
骨科学中的“关节健康评估”尤为重要
只有实验室/临床医学中才有特定仪器测定“膝关节健康数据”
探索设计用于评估膝关节健康的可穿戴多传感模式

## Slide 3
Microphones: Measuring joint sounds to differentiate between healthy individuals and patients with arthritis, to classify different conditions.
Electrical Bioimpedance Circuitry(EBI): Detecting real-time joint resistance indices to assess swelling.
Inertial Measurement Units(IMUs): Providing information on joint stability and range of motion.
Temperature Sensor: Monitoring local skin temperature.
Wearable Multimodal Smart Brace
Introduction -- Specific Functions of the Device

## Slide 4
Microphones
Audio Board:
Electrical Bioimpedance Circuitry(EBI)
Inertial Measurement Units(IMUs)
Temperature Sensor
Main Board:
Embedded Systems
3D Flexible Bracket
All data is written to the ‘microSD’ card.
Embedded Systems Design -- System Structure

## Slide 5
Bandwidth accelerometer
High gain bandwidth product and low noise
The signal is low-pass filtered by the second-order Sallen-Key.
Inverter, used to create a differential signal.
Sampled differential signal
The protocol supports the consolidation of four audio channels into one channel
Embedded Systems Design -- Audio Board Design
Notes: 接触式麦克风实质上是一种宽带加速度计，它可以检测皮肤对关节底层声学发射的振动响应。

## Slide 6
Three-axis accelerometer, gyroscope and magnetometer
Use four-electrode configuration
Embedded Systems Design -- Main Board Design
Notes: 采用了四电极配置，外部电极（E1 和 E4）通过组织提供电流，而由内部电极（E2 和 E3）连接的高阻抗仪器放大器（IA））测量电压。

## Slide 7
Circuit Box: Containing the main and audio PCBs, two batteries and switches for initiating and stopping recordings.
Two sensor housings: Containing IMU, temperature sensors and two electrode snaps for EBI measurements.
Brace Design
Microphone standoff: Route the cables away from the leg and provide sufficient slack throughout the entire range of motion.
Design and
Proof-of-concept Results -- Brace Design
Notes: 采用了四电极配置，外部电极（E1 和 E4）通过组织提供电流，而由内部电极（E2 和 E3）连接的高阻抗仪器放大器（IA））测量电压。

## Slide 8
Design and
Proof-of-concept Results -- Brace Design
Notes: 采用了四电极配置，外部电极（E1 和 E4）通过组织提供电流，而由内部电极（E2 和 E3）连接的高阻抗仪器放大器（IA））测量电压。

## Slide 9
Why the affixing of the brace is important?
Ensure the sensors acquire the desired data at specified anatomical locations.
Facilitate valid longitudinal data comparisons.
For joint acoustics: The positioning of the microphones with respect to the joint may influence the type of sounds measured.
For EBI: EBI electrode spacing must be maintained to capture the same segment of the limb.
Design and
Proof-of-concept Results -- Affixing the Brace
Notes: 采用了四电极配置，外部电极（E1 和 E4）通过组织提供电流，而由内部电极（E2 和 E3）连接的高阻抗仪器放大器（IA））测量电压。

## Slide 10
To enable correct and consistent placement of the brace on different person, a “stencil” approach was designed and developed. The stencil is a flexible, 3D-printed piece that provides areas to mark the subject’s skin with the appropriate mounting locations.
Design and
Proof-of-concept Results -- Affixing the Brace
Notes: 采用了四电极配置，外部电极（E1 和 E4）通过组织提供电流，而由内部电极（E2 和 E3）连接的高阻抗仪器放大器（IA））测量电压。

## Slide 11
The signals from a single healthy man was measured. For the joint sound measurement, the subject completed 10 cycles of unloaded, seated flexion/ extension exercises.
The EBI measurement was conducted with the leg in a relaxed, seated position with fully extended and supported for 10 AC sweeps ranging from 5kHz to 100kHz.
Design and
Proof-of-concept Results -- Results of measurement
Notes: 采用了四电极配置，外部电极（E1 和 E4）通过组织提供电流，而由内部电极（E2 和 E3）连接的高阻抗仪器放大器（IA））测量电压。

## Slide 12
Conclusion -- The Proposed Knee Joint Health Monitoring System
John Chen
Notes: 采用了四电极配置，外部电极（E1 和 E4）通过组织提供电流，而由内部电极（E2 和 E3）连接的高阻抗仪器放大器（IA））测量电压。

## Slide 13
John Chen
[2]
Notes: 采用了四电极配置，外部电极（E1 和 E4）通过组织提供电流，而由内部电极（E2 和 E3）连接的高阻抗仪器放大器（IA））测量电压。

## Slide 14
John Chen
Currently, it is limited by the average current draw of the IMUs used in this design, specifically the gyroscope of the unit, which draws nearly 5 mA continuously because this sensor cannot be put to sleep at the 100 Hz sample rate given its long wakeup time.
Notes: 采用了四电极配置，外部电极（E1 和 E4）通过组织提供电流，而由内部电极（E2 和 E3）连接的高阻抗仪器放大器（IA））测量电压。

## Slide 15
John Chen
Notes: 采用了四电极配置，外部电极（E1 和 E4）通过组织提供电流，而由内部电极（E2 和 E3）连接的高阻抗仪器放大器（IA））测量电压。

## Slide 16
John Chen
Notes: 采用了四电极配置，外部电极（E1 和 E4）通过组织提供电流，而由内部电极（E2 和 E3）连接的高阻抗仪器放大器（IA））测量电压。

## Slide 17
Teague, C. N., Heller, J. A., Nevius, B. N., Carek, A. M., Mabrouk, S., Garcia-Vicente, F., Inan, O. T., & Etemadi, M. (2020). A wearable multimodal sensing system to monitor knee joint health. IEEE Sensors Journal, 20(18), 10323-10333. https://doi.org/10.1109/JSEN.2020.2994552
Ozmen, G. C., Nevius, B. N., Nichols, C. J., Mabrouk, S., Teague, C. N., & Inan, O. T. (2021). An Integrated Multimodal Knee Brace Enabling Mid-Activity Tracking for Joint Health Assessment. In 2021 43rd Annual International Conference of the IEEE Engineering in Medicine &amp; Biology Society (EMBC). 2021 43rd Annual International Conference of the IEEE Engineering in Medicine & Biology Society (EMBC). IEEE. https://doi.org/10.1109/embc46164.2021.9630526
Ismail, A. H., Schlieper, G., Walter, M., Floege, J., & Leonhardt, S. (2019). Knee-to-knee bioimpedance measurements to monitor changes in extracellular fluid in haemodynamic-unstable patients during dialysis. In Journal of Electrical Bioimpedance (Vol. 10, Issue 1, pp. 55–62). Walter de Gruyter GmbH. https://doi.org/10.2478/joeb-2019-0008
DALL-E For real-life use case illustration generation. ChatGPT (openai.com)
Reference